## J006330_DualLickCompREVA
Partlist exported from C:/PROJECTS/ID&F/MODULATED LICK PORT DETECTOR/ADC/ECAD/J006330_DualLickCompREVA.sch at 1/24/2018 9:41 AM
Qty | Value | Device | Designators | Manufacturer | Man PN | Vendor | Vendor PN | $ea | $Total | Notes
4 | BNC | CONN BNC JACK R/A 50 OHM PCB | J1 J2 J3 J4 | TE | 1-1634613-0 | DK | A97554-ND | 2.9 | 11.6
2 | Ferrite | FERRITE BEAD 2.5 KOHM 0805 1LN | L1 L2 | Samsung | CIM21J252NE | DK | 1276-6377-1-ND | 0.1 | 0.2
5 | 0.1 | CAPS0603S | C1 C2 C3 C4 C5 | Kemet | C0603C104K5RACTU | DK | 399-5089-1-ND | 0.1 | 0.5
2 | 1K | D12/CRCW0805-C 100 1K0 1% | R1 R8 | Vishay | CRCW08051K00FKEAC | DK | 541-3977-1-ND | 0.1 | 0.2
2 | 4M99 | RES SMD 4.99M OHM 1% 1/8W 0805 | R4 R9 | Vishay | CRCW08054M99FKEA | DK | 541-4.99MCCT-ND | 0.1 | 0.2
3 | 10 | CAP CER 10UF 10V X7R 0805 | C6 C7 C8 | Kemet | C0805C106M8RACTU | DK | 399-7413-1-ND | 0.55 | 1.65
2 | 10K | POT 10K OHM 1/4W PLASTIC LINEAR | R3 R6 | Bourns | 3310P-125-103L | DK | 3310P-125-103L-ND | 2.74 | 5.48
2 | 10K0 | D12/CRCW0805-C 100 10K 1% | R2 R7 | Vishay | CRCW080510K0FKEAC | DK | 541-3976-1-ND | 0.1 | 0.2
1 | 100K | D12/CRCW0805-C 100 100K 1% | R5 | Vishay | CRCW0805100KFKEAC | DK | 541-3978-1-ND | 0.1 | 0.1
1 | ADUM5202 | DGTL ISO 2.5KV GEN PURP 16SOIC | U2 | ADI | ADUM5202ARWZ | DK | ADUM5202ARWZ-ND | 10.12 | 10.12
1 | MAX9043 | IC COMPARATOR DUAL 10-UMAX | U1 | Maxim | MAX9043BEUB+ | DK | MAX9043BEUB+-ND | 1.7 | 1.7
1 | USB | CONN USB MICRO B RECPT SMT R/A | J100 | Amphenol | 10118194-0001LF | DK | 609-4618-1-ND | 0.46 | 0.46
2 | LED | LED 5MM VERT HE DIFF GRN PC MNT | LED1 LED 2 | Dialight | 5612201050F | DK | 350-2814-ND | 1.24 | 2.48
1 | PCB | printed circuit board |  | Oshpark | J006330_DualLickCompREVB |  |  | 12 | 12
2 | 0.1 | CAP CER 4700PF 50V C0G/NP0 0805 | C9 C10 | Murata | GRM2165C1H472JA01D | DK | 490-3044-1-ND | 0.22 | 0.44
1 | Enclosure | BOX ALUM NATURAL 2.36"L X 1.67"W |  | Hammond | 1455D601 | DK | HM1358-ND | 10.73 | 10.73
2 | Knob | KNOB PLASTIC .125 DIA BLACK |  | Grayhill | 11K5019-JCNB | DK | GH7660-ND | 0.87 | 1.74
59.8